## Slide 1
혁신성장 청년인재 집중양성
IAMEDIC
서승훈, 서준영, 이재호, 장진영

## Slide 2
프로젝트 개요
기획 배경, 목표: (2d vs 3d + 논문구현 + 서비스?)
시장 분석: 의료 AI 영상(기업들) 썰 ( ) + 의료데이터 관련법
BraTS 대회 요약: (unet domination)
구성원 및 역할
프로젝트 추진 일정
분석 및 개발 결과
MRI썰
Modality, Biascorrection (EDA)
2D 내용 및 결과
3D 내용 및 결과
구현 내용 및 결과
-표 (keras구현모델 돌려본 결과)
기대효과
- prototype
누군가 brats2020 나간다면…. 우리거 보고 참고….
실무연계 (의사들이 사용)
향후 개선 사항
기대 효과
후기

## Slide 3
I. 프로젝트 개요

## Slide 6: Multimodal images
Choudhury et al.
Segmentation of Brain Tumors Using DeepLabv3+
Lee

## Slide 7: Preprocessing – skull stripping
Hosseini et al
Automatic and Manual Segmentation of Hippocampus in Epileptic Patients MRI
Lee

## Slide 8: Preprocessing – N4 biasfield correction
Yang et al
Integration of ultra-high field MRI and histology for connectome based research of brain disorders
Lee

## Slide 9
II. 분석, 개발 결과

## Slide 10: 3D Unet: Data prep
3D BTS 모델의 흐름도. (generator 부재에 따른 복잡도 증가)
전처리
두개골 제거, 정렬,
(N4 biascorrection, directory and file renaming)
Building H5 Files
Normalization
Generating input
Model
Lee

## Slide 11: 논문 및 소스코드 탐색
Repositories | Competition | Framework | Paper | model | Note
Naomifridman | X (2019 data) | keras | X | 2D Unet | ipynb
Cv-lee | X (2017 data) | Keras, pytorch | X | 2D Unet + | 
Woodywff | * Brats 2019 | keras | O | 3D Unet | weights.h5
JhonleeHit | * Brats 2019 | keras | O | Cascading 3D Unet | 
ellisdg | * Brats 2018 | keras | X | 3D Unet | 1.1k Star
China-LiuXiaopeng | * Brats 2018 | pytorch | O | 3D DMFNet | 
Bluesky314 | * Brats 2018 | pytorch | O | 3D Unet | 
Jack Etheridge | *Brats 2018 | keras | X | 3D Unet | 
Repositories | Competition | Framework | Paper | model | Note
Naomifridman | X (2019 data) | keras | X | 2D Unet | ipynb
Woodywff | * Brats 2019 | keras | O | 3D Unet | weights.h5
ellisdg | * Brats 2018 | keras | X | 3D Unet | 1.1k Star
Lee

## Slide 12: 3D Unet: F. Isensee, D.G.Ellis, F.Wang
Function Reliances
https://github.com/ellisdg/3DUnetCNN
write_data_to_file
create_data_file
fetch_training_data_files
main
If) fetch_training_data_files
write_image_data_to_file
create_data_file
write_image_data_to_file
open_data_file
get_training_and_validation_generators
If) write_data_to_file
brats/train.py
unet3d/data.py
unet3d/generator.py
get_training_and
_validation_generators
unet3d/training.py
step_decay
get_callbacks
load_old_model
train_model
keras.model.fit_generator
get_callbacks
train_model
open_data_file
get_number_of_steps
get_validation_split
split_list
data_generator
get_number_of_patches
create_patch_index_list
add_data
get_data_from_file
convert_data
get_multi_class_labels
create_patch_index_list
get_data_from_file
augment_data
unet3d/augment.py
get_validation_split
get_number_of_patches
get_number_of_steps
create_patch_index_list
compute_patch_indices
get_random_nd_index
unet3d/utils/patches.py
augment_data
compute_patch_indices
get_random_nd_index
random_permutation_x_y
random_permutation_x_y
get_patch_from_3d_data
get_patch_from_3d_data
get_set_of_patch_indices
get_random_patch_index
reconstruct_from_patches
fix_out_of_bound_patch_attempt
fix_out_of_bound_patch_attempt
get_set_of_patch_indices
get_random_nd_index
data_generator
if) normalize_data_storage
split_list
add_data_to_storage
reslice_image_set
add_data_to_storage
unet3d/normalize.py
find_downsized_info
get_cropping_parameters
reslice_image_set
get_complete_foreground
get_foreground_from_set_of_files
normalize_data
normalize_data_storage
normalize_data
get_foreground_from_set_of_files
If) get_cropping_parameters
read_image_files
unet3d/utils/utils.py
read_image_files
fix_shape
resize
read_image
fix_shape
resize
pickle_dump
pickle_load
get_affine
add_data
pickle_dump
pickle_load
calculate_origin_offset
sitk_resample_to_spacing
sitk_resample_to_image
sitk_new_blank_image
resample_to_spacing
sitk_image_to_data
data_to_sitk_image
unet3d/utils/sitk_utils.py
Lee

## Slide 13: 3D Unet: Process
Dataset(h5)
Data
Model
Predict
Raw
Dataset
X
Y
Lee

## Slide 14: 3D Unet: Hurdles
Dataset(h5)
Data
Model
Predict
Raw
Dataset
X
Y
Preprocessing
Reading .nii images
Creating h5 file
N4Biasfield correction
Normalization, Resizing
Lee
nibabel
Pytables
ANTs
Sitk
Unfamiliar liararies

## Slide 15: 3D Unet: Hurdles
Dataset(h5)
Data
Model
Predict
Raw
Dataset
X
Y
Datagenerator
Read data
Create patches
Augment images
Lee

## Slide 16: 3D Unet: Model
Lee

## Slide 17: 3D Unet:
Slightly modified wang et al.’s code and confirmed its validity
Tensorflow-gpu 1.11 -> Tensorflow2.2
Linux -> Linux & Windows
Achieved close-to-paper performance
움 짤 or Table
Lee

## Slide 18
Naomi(2D) | Dice_ET | Dice_WT | Dice_TC
Mean | 0.53331 | 0.75312 | 0.61569
StdDev | 0.30197 | 0.15143 | 0.24508
Median | 0.66802 | 0.80616 | 0.66856
25quantile | 0.32074 | 0.71237 | 0.50583
75quantile | 0.75444 | 0.84666 | 0.80821
1.3 (3D) | Dice_ET | Dice_WT | Dice_TC
Mean | 0.69375 | 0.86642 | 0.75452
StdDev | 0.31087 | 0.11886 | 0.23451
Median | 0.82093 | 0.901 | 0.85524
25quantile | 0.64492 | 0.84033 | 0.68875
75quantile | 0.89683 | 0.93383 | 0.91136
Woody | Dice_ET | Dice_WT | Dice_TC
Mean | 0.70435 | 0.87965 | 0.77177
StdDev | 0.31391 | 0.12735 | 0.21786
Median | 0.84422 | 0.91493 | 0.85847
25quantile | 0.66238 | 0.8654 | 0.68042
75quantile | 0.90042 | 0.94082 | 0.91917
Lee

## Slide 19
 | WT | TC | ET
2D (N.Fridman) |  |  | 
3D (Wang et al.) |  |  | 
Lee

## Slide 20
III. 기대효과

## Slide 25
IV. 후기

## Slide 26
개선할 점
1. Outlier Prediction 분석
2. 방사선, 신경외과 전문의와 협업
-> 의사결정과정을 배우고 참고할 수 있었다면 더 좋았을 것.
3. 다양한 augmentation 도입을 통해 더 나은 regularization이 가능할 것
-> ITK, Sitk에 3d nii image augmentation관련 코드가 구현되어 있음 -> 적극 활용
4. H5 파일 사용시 validation 및 training 파일 분리. (multi threaded generator 접근)
5. Multistep, cascading segmentation 적용(대세)
Lee
아쉬운점
진입장벽을 예상못하고 데이터 전처리 및 generator 관련부분에 시간을 많이 허비하게 되어 아쉬움이 남음.
기타
팀원들이 모두 적극적으로 끝까지 임해줘서 고마웠고, 스스로도 분발할 수 있었음.
조성훈멘토님, 임비멘토님을 비롯한 멘토님들의 도움 덕분에 이정도나마 해낼 수 있었음.